## Full equipment list
Item | Units | Comment | Comment 2 | Example for reference
Specialised equipment - Permanent Sample Plots
100m tapes | 6 | CRITICAL Two subplots/subtransects running concurrently - at the absolute min three per plot, better four | number depends on quality! | https://www.takealot.com/stanley-powerwinder-fiberglass-100m/PLID49094585?gclid=CjwKCAjw2P-KBhByEiwADBYWCvubbmgfARUyz76pjR2PYEel7L5c0Y6EVbExusj2GNlMkqVTfU1NehoC9BYQAvD_BwE&gclsrc=aw.ds
25m/50m measuring tape | 2 | CRITICAL For alignment of subplots - 100m tapes are too unweildy; also useful for XY coordinate measurements, broken height etc |  | https://leroymerlin.co.za/digital-measuring-tape?sfdr_ptcid=32806_617_679096326&sfdr_hash=d19a9ce1e4eb18759b28fedf3590de28&gclid=CjwKCAjw2P-KBhByEiwADBYWCtYo_LwvmBy35yV2c0fRv4deJEc4BwxPWxl1MPClqZIlxcQFfNB92xoCH4cQAvD_BwE
100m strings on rollers | 6 | Very useful in lying out plots. Three per plot min, two spares (delicate and easily rendered temporarily useless in case of bad tangling) |  | http://www.yorksurvey.co.uk/100m-site-line-on-winder-yellow-c2x22733115
150m string | 1 | For plot establishment - checking of diagonal
DBH Tapes | 5 | CRITICAL cm and mm (i.e. not rounded up cm like the standard forestry ones) |  | https://www.treemarker.co.uk/product/weiss-dbh-tape
Claw hammer | 2 | CRITICAL Tagging
Lump hammer/ small sledgehammer | 1 | CRITICAL Stamping tags - a regular hammer is not great for this |  | https://en.wikipedia.org/wiki/Sledgehammer
Compass (with declination adjustment) | 1 | For lying out plots. | Declination adjustment is prefereable for alignment - declination something like 12 degrees in MZ = slanted plots!
Machete | 1 | CRITICAL Used all the time, minimum 1 on site
Metal Detector | 1 | Plot corners are marked with buried rebar/strong magnets
Mirror densitometer | 1 | Canopy density estimations
Tin snips | 1 | CRITICAL For cutting up tags if not logistically possible to pay someone | If taking one pair buy good ones | https://www.toolstation.com/stanley-fatmax-aviation-snips/p84763
Clinometer | 2
GPS | 1 |  | replacement batteries
Positive indent stamps (numbers 1-9, 10mm character height) | 1 | CRITICAL |  | https://www.zoro.co.uk/shop/hand-tools/letter-and-number-stamps/10.0mm-set-of-9-figure-punches/p/ZT1003604X?utm_source=google&utm_campaign=pla%2B%7C%2BHand%20Tools&utm_term=ZT1003604X&utm_medium=pla_css_2&targetid=aud-902363950003:pla-393023720059&loc_physical_ms=1007326&dev=c&gclid=CjwKCAjwruSHBhAtEiwA_qCpptVVvLkenJCtUsm4Y3iz41NKSBb89QGgZJngv0too1EfLBf9bqL10RoC6A8QAvD_BwE
Positive indent stamps (any letters needed, 10mm character height) | 1 | CRITICAL some plot protocols use both letters and numbers!
Secateurs | 1 | Primarily for id work (also for herbaceous biomass clipping)
Hypsometer / Laser Rangefinder | 1 | e.g. Nikon Forestry Pro For height measurements. Not essential (and not perfect, take several readings from different aspects) but easy to use. | Source batteries in advance - very high end lithium, not common size
Drone | 1 | e.g. Mavic Platinum Pro - I think there is good cause for having this in some cases if budget allows
Ipad (cellular) | 1 | Gets the best from the drone - but also if we are moving to ODK. | Cellular is essential
Reference books | ? | Region specific e.g. Burrows et al Trees & Shrubs of Mozambique, Coates-Palgraves
General consumables
Sharpie markers | 5
Masking tape (25 m ) | 10 | paper kind, very useful for labelling new recruits before taggs have been stamped |  | https://en.wikipedia.org/wiki/Masking_tape
Pencils | 10
Erasers | 5
Fluro tape | 2 | This is useful for all sorts of stuff, take some |  | http://www.yorksurvey.co.uk/30mm-x-91m-pvc-flagging-tape-yellow-c2x22725054
Batteries | ? | replacement sets for all battery using equipment e.g. Accupar, GPS
Clipboard | 2
Botanical consumables - voucher samples
mothballs | 2 | Sample related work
coin envelopes (500) | 1 | Sample related work
Heavy duty rubble sacks (7 bags) | 3 | Sample related work
Freezer bags (152 bags) | 1 | Sample related work
Freezer bags (~90 bags) | 1 | Sample related work
Silica gel | 1 | Sample related work
Specimen Press | 2 | Sample related work
Newspaper (1 fill carrier bag) | 1 | Sample related work
Heavy/field consumables
Starpicket/rebar/steel droppers | ? | perhaps 2 per plot - cut into length 50cm and buried in the corners for relocating plots |  | https://leroymerlin.co.za/dropper-n-castle-1250mm-81433900?sfdr_ptcid=32806_617_593067445&sfdr_hash=a6c0c3f8a144483682d452346d767b33&gclid=CjwKCAjw2P-KBhByEiwADBYWCr7JDpdKSLtmZ0T0hxJmWQDXH9DczGXAVAzsCib2gROEj8JEuW0twhoCOwEQAvD_BwE
Zinc roofing sheets ("chapa") | ? | tree tags - cut into c 5x5 cm ; zinc sheeting ~0.6mm thick - too thin & the tags won't last; too thick & stamped tag numbers are illegible |  | https://leroymerlin.co.za/m-sheet-smooth-steel-500x250x0-6-81424762?sfdr_ptcid=32806_617_545422210&sfdr_hash=545eca80e6bafb43ec1dc3cf2d77afb1&gclid=CjwKCAjw2P-KBhByEiwADBYWCnON7ocxpZOwax8e11Xvo7qSDzwCexcKpS6oVXmVdyhc2rrRLR56lBoC3GIQAvD_BwE
Nails | ? | aluminium is less reactive in trees but difficult with hard woods. Steel nails probably most useful. need some length to avoid tree swallowing the tags; pref min length 50 mm - start with ~5kgs of nails you use a lot
Pegs of some sort | ? | for securing tapes at ends of subplots. These usually get made from hardwood = optional | long enough to be secure in ground, thin enough to fit inside a tape handle!
Herbaceous protocol
Ceptometer / LAI meter | 1 | e.g. Meter Accupar LP-80; for measuring PAR | replacement batteries | https://www.metergroup.com/environment/products/accupar-lp-80-leaf-area-index/
Circular 1m quadrat | 2 | minimum 1, can be made from thin flexible hose with a male-male joiner - for ground / plantcover subplots
Rectangular 0.5m x 0.5m quadrat | 2 | minimum 1, can be made from thin pvc pipes - for biomass clipping
Secateurs / Stanley blades | 2 | biomass clipping
brown paper bags | ? | transporting biomass clippings - 196x115x385 with a flat base
Mirror densitometer | 1 | canopy cover estimation
Optional equipment - not in core SEOSAW protocol
Punch (16-20mm) | 1 | For taking bark thickness | These do take a beating, for lots of samples two is better | https://www.cromwell.co.uk/shop/hand-tools/punches-wad-and-hole/17mm-11-16inch-wad-hollow-punch-for-cork-leather-plastics/p/KEN5181588K?gclid=CjwKCAjwruSHBhAtEiwA_qCppv2LJPEoPiSOV-PEntsEONRB89UfCO8MAdZfoWu8mR-Rhfh-OwAlSxoCpf4QAvD_BwE

## Jhb Office Equipment Stocks
Item Description | Units | Checked out - Sep-Oct 2021 Sa Lisboa | Checked out - Oct 2021 Piet van Zyl | Remaining
Meter Environment: Accupar LP-80 (Canopy interception and leaf area index), Serial number: ALP00000395 | 1 | 1 |  | 0
Accupar external sensor & cable | 1 | 1
screwdriver (for Accupar battery change) | 1 | 1 |  | 0
Accupar manual | 1 | 1
Garmin eTrex10 GPS. Serial number: 53D535653 | 1 | 1 |  | 0
loose DBH tape (metric) | 10 | 2 |  | 8
Gardena secateurs | 2 | 2 |  | 0
Stanley tin snips | 1 |  | 1 | 0
100m measuring tape | 6 | 6 |  | 0
50m measuring tape | 2 | 2 |  | 0
Number punch | 3 |  | 1 | 2
Letter punch | 3 |  | 1 | 2
1m flexible hose circular quadrat | 1 | 1 |  | 0
0.5m x 0.5m PVC pipe quadrats | 2 | 2 |  | 0
Reference book - Burrows et al Trees & Shrubs of Mozambique | 1 | 1 |  | 0
Mirror densiometer | 1 | 1 |  | 0
Note on D13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Letters: N(2017), P(2021), R(next campaign 2023?)